Early Design Meeting Agenda and Report Template for:

<project name>

Meeting Date, Time & Location:

| Required Attendees: | Recommended Attendees: |
| --- | --- |
| <Owner> | <Energy Trust Program Rep> |
| <Architect> | <Lighting Designer> |
| <Mechanical Engineer> | <General Contractor (if applicable)> |
| <Energy Analyst> | <Solar Ally (if applicable)> |
| <Meeting Facilitator> (can be other project team member) | <Other Renewable Experts> <Commissioning Agent> <Building Operator> |

- Meeting Objectives:

  - Establish project’s energy goals and identify strategies to meet those goals.

- Meeting Outcomes:

  - Documentation of energy performance goals

  - Prioritized strategies for team to pursue through further analysis/design

  - Understanding of potential Energy Trust incentives to support achievement of goals

  - Clarity on next steps

- Discussion Topics:

The topics below are suggestions for discussion and provide a broad list of energy considerations. Some topics may not be relevant or applicable to the building in design, and the team may adjust the agenda to meet project needs.

  - Energy performance goals

    - Energy Use Intensity (EUI) target

    - Alignment with industry rating systems (LEED, Living Building, Architecture 2030)

    - How energy relates to overall project goals and owner’s business needs

  - Energy Use Breakdown

    - Use Energy Use Breakdown Tool to discuss end uses that should be/will be targeted with energy efficiency measures

    - Action: Submit Energy Use Breakdown Tool (or similar tool provided by project) to program with meeting report.

  - Strategies for achieving energy savings goals

    - Reduce loads

      - Building orientation

      - Natural ventilation

      - Daylighting

      - Glazing percentage/performance

      - External shading

      - Wall performance

      - Roof performance

      - Infiltration

      - Other

    - Use efficient systems

      - Efficient HVAC system selection

        - Right size equipment based on reduced loads

        - Efficient part load operation

        - Alternative HVAC system types (such as VRF, radiant heating/cooling, and ground source heat pumps)

        - Heat recovery

        - Condensing boilers

      - HVAC system control

        - Increased level of zone-specific controllability

        - Scheduling/setback controls

        - Demand-controlled ventilation

      - High efficiency lighting design

        - High efficiency lighting

        - Low ambient lighting with task lighting

        - Occupancy and daylighting controls

          - Luminaire level lighting controls

          - Continuous dimming

      - Domestic hot water systems

        - High efficiency, condensing gas water heaters

        - Tankless water heaters

        - Heat pump water heaters

        - Combination space/water heaters

        - Efficient recirculation systems

        - Low flow fixtures

      - Server closet / server rooms

        - Install high efficiency (ENERGY STAR®) equipment (including servers, networking equipment, PDUs, HVAC equipment, UPS)

        - Uninterruptible Power Supplies (UPS)

          - Size UPS units to operate at peak efficiency

          - Consider UPS requirements (protection, redundancy, etc.) when purchasing UPS

      - Other equipment relevant to project (kitchen equipment, compressed air systems, other process loads, etc.)

    - Plan for plug loads and occupant behavior

      - High efficiency office equipment

      - Laptop computers and flat screen monitors

      - LED task lighting

      - ENERGY STAR appliances and equipment

    - Use renewables to meet remaining demand

      - Solar and Solar Ready design

      - Other renewable systems

    - Additional discussion topics

      - Building Energy Management Systems

      - Operations and maintenance

      - Life cycle costing/additional energy modeling or analysis

      - Commissioning

      - Resilience – maintaining building functionality when traditional power supply is not available

        - On site solar and battery storage

        - Back up generation

        - District energy systems

        - Micro grids

        - Passive cooling, ventilation and daylighting

        - Prioritization of critical loads

      - Other items

    - How to navigate inherent constraints (budget, timeline, etc.)

  - How Energy Trust New Buildings may support project

    - Potential funding for analysis and systems discussed

  - Revisit energy goal

  - Next Steps

    - Action plan for strategies that require further analysis (see example below)

Template for Action Plan

| What | Who | By When |
| --- | --- | --- |
| e.g. Fill our EDA report and submit to Energy Trust | e.g. Project Architect | e.g. Next week |