If desired paste Consultant logo here

Data Center Energy Analysis Report

for

[INSERT PROJECT NAME and ASSIGNED ENERGY TRUST PROJECT ID NUMBER]

Submitted by

[INSERT CONSULTANT NAME HERE] "Consultant"

on behalf of

[INSERT PROJECT OWNER'S NAME AS SUBMITTED TO THE PROGRAM IN FORM ___ HERE]

"Project Owner"

to

Energy Trust of Oregon

New Buildings Program

Submittal Date: [INSERT DATE]

Project Contacts

Project Owner:

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

E:  xxx@xxx

Architect:

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

E:  xxx@xxx

Mechanical Engineer;

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

Energy Consultant:

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

E:  xxx@xxx

General Contractor:

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

E:  xxx@xxx

Electrical Engineer;

Contact Name

Company

Address

P:  (xxx) xxx-xxxx

F:  (xxx) xxx-xxxx

Table of Contents

1	Summary	1

2	Building and Systems’ Description	2

2.1	Building Description	2

2.2	IT Loading	2

2.3	Project Phasing	2

2.4	Baseline Systems	2

2.4.1	HVAC System Selection	2

2.4.2	Airflow Management	2

2.5	Proposed Systems	2

2.5.1	HVAC System Selection	2

2.5.2	Airflow Management	2

2.6	HVAC Zoning	2

3	Summary of the Energy Efficiency Measures	3

4	Economic Summary	4

4.1	Summary of EEM Costs	4

4.2	Energy and Energy Cost Savings	4

4.3	Cost Effectiveness Analysis	4

5	Appendix	8

# Summary

Provide a brief description of the project. Include the following information:

- A brief description of the facility (i.e., construction - new, major renovation, addition or tenant improvement, size, expected occupancy(s), intended use(s), and any unique characteristics);

- Results of early design assistance meeting;

- Energy efficiency goals and data center program path (efficient versus innovative);

- Other analyses completed with Technical Assistance incentives; and

- Identify all EEMs analyzed, with a brief description of each. Complete Table 1 to summarize results from the energy modeling.

Table 1: Summary of Energy Savings

Error! Not a valid link.

# Project Description

Provide an overall description of the project and building as well as any relevant information that is critical to the energy analysis.

## Building Description

Provide a brief description of the facility. Include floor plan of the building areas included in the incentive application.

## Early Design and Other Technical Assistance Activities

Describe other activities that received early design and/or technical assistance incentives. Include information on how the results of those studies informed or influenced the proposed design.

## IT Loading

Discuss the anticipated loading on the plant. Current baseline assumptions include a utilization factor of 50% to account for redundancy within the data center design as well as server utilization rates that are significantly less than design/nameplate. If the project proposes a utilization rate higher than 50%, supporting documentation should be provided. In addition, discuss the daily, weekly, and/or monthly changes in loading. For example some data centers may operate at a relatively constant loading 24/7, while others may have higher operating loads during normal working hours and lower loads on nights and weekends.

## Project Phasing

Discuss project phasing, including the timing of future phases. Identify equipment that is not anticipated to be installed in the first two years of operation.

## Baseline Systems

### HVAC System Selection

Describe the baseline HVAC system, including relevant modeling inputs

Include tables of data that should be provided?

### Airflow Management

Provide design IT density and discuss associated requirements for containment.

## Proposed Systems

### HVAC System Selection

Describe the proposed HVAC system, including relevant modeling inputs.

Include tables of data that should be provided?

### Airflow Management

Describe proposed containment, supply and return air temperatures and humidity controls.

## HVAC Zoning

Layout of the zoning used in the energy modeling. Zoning should be the same in the baseline and proposed models. If there are differences, please explain why.

# Summary of the Energy Efficiency Measures

Provide a summary of each EEM analyzed for the report. Each summary should include a description of the EEM and any details that will help the reader understand how the EEM operates and the source of the energy savings.  Address the rationale for any measure ‘bundles’ in the energy analysis (see Technical Guidelines for an explanation of when measures may be bundled). Clearly indicate the comparison of pertinent details between the baseline and the EEM.

Examples:

- Reduction in lighting power density - Indentify how a reduction in the lighting power density (LPD) will yield energy savings. Provide a comparison between the maximum LPD(s) permitted by code and those of the proposed EEM for the project.

- Water cooled screw chiller – For a whole building energy analysis, if the baseline SEED Appendix L requirement for the facility is an air cooled reciprocating chiller, and the corresponding EEM proposes using a water cooled screwed chiller, then the summary shall explain what makes the water cooled chiller more efficient. Provide a comparison of the COP, IPLV, and/or NPLV ratings between the baseline and EEM.

# Economic Summary

Use this section to identify the economics of the potential EEMs and include annual energy cost savings (gas and electric), incremental costs, simple payback periods, and the results of the Cost-Effectiveness Calculator test. The Savings Summary Worksheet should be used to generate the tables in this section. This tool is available at www.energytrust.org/business. Instructions on how to use the tool are contained in the first worksheet tab labeled “Instructions”.

## Summary of EEM Costs

Provide all the material, labor and equipment costs for the individual EEMs. The source of the included cost information must be identified.

Incremental labor costs can only be applied to EEMs in which the installation of the proposed EEM requires additional labor above that needed for the installation of the baseline system/component (i.e. labor for installing premium efficiency lighting or motors cannot be included), or in the case of an equipment upgrade during a renovation if the previous equipment had not reached the end of its useful life.

A table, similar to Table 4-1, must be included, providing an estimate of incremental costs for each of the investigated EEMs

## Energy and Energy Cost Savings

The dollar value of other non-energy cost savings or value added associated with each measure, if any, should be identified with the respective EEM.

Identify the utility provider’s name, corresponding rate schedule and rate amount that the project will be subject to. The energy cost savings should reflect the appropriate rate schedule amounts.

## Cost Effectiveness Analysis

The Estimated Electric & Gas Savings, Cost and Incentive Summary (Table 4-2) and Cost Effectiveness Calculator (Table 4-3), shown below, must be completed and provided in this section. (Click here to access the Data Center Savings Summary Worksheet)

Table 4-1 Estimated EEM Incremental Costs

| EEM | Measure Description and Incremental Cost | Cost Source | Baseline Material Cost | Incremental Material Cost | Baseline Equipment Cost | Incremental Equipment Cost | Incremental Labor Cost (if applicable) | Total Incremental Cost | Non Energy Cost Savings | Total Incremental Cost less non-energy cost savings |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |

Table 4-2 Estimated Electric & Gas Savings, Cost and Incentive Summary

Table 4-3 Cost-Effectiveness Calculator

# Appendix

Include all supporting calculation documentation required for the report in this section, including spreadsheet calculations, energy model report summaries, and an energy model takeoff sheet summarizing the technical inputs to the model that were either obtained from the project drawings or from the design team. Also include the equipment manufacturer’s specification cut sheets and supporting incremental cost information in this section.

A table, similar to Table A-1, must be included showing the comparison between the baseline guideline requirements and the proposed design. For projects that have performed a whole building energy analysis, the table must also indicate the baseline modeling requirements (e.g. Oregon Energy Efficiency Specialty Code, SEED Appendix L) compared to the proposed design.

Table A-1 – Baseline and Proposed Construction Details

# Text boxes

EXAMPLE

EXAMPLE

EXAMPLE